## Compare 2
Comparison of two measurements with known uncertainty
This data comparison tool can help evaluate whether measured results agree with each other within their uncertainty limits.
Enter your measured values and uncertainties in the highlighted cells.
[5 empty] | Relative | Uncertainty Range
| X |  | u |  | Uncert. | X-u | X+u |  | Y
A = | 1.2 | ± | 0.2 |  | 16.67% | 1 | 1.4 |  | 2
B = | 1.8 | ± | 0.2 |  | 11.11% | 1.6 | 2 |  | 2
|  |  |  | Percent difference = | 40%
Hypothesis testing:
Does | A = B? |  |  | Z(A-B) = | 2.1213 | p = | 0.033895
p-value is the statistical probability that the two measurements
came from the same parent population (are equivalent),
found from a two-tailed t-test with infinite degrees of freedom.
Note: p-values are based on the following assumptions:
1) u is standard uncertainty
2) X ± u is 68% confidence interval
3) Measurements exhibit normal distribution properties
4) Sample size is very large
Gaussian (Normal) Probability Distributions with Known Means and Variances
G(x) = (1/(sigma*sqrt(2pi)))*exp(-x^2/2sigma^2)
|  |  | X1 | G(X1) |  |  | X2 | G(X1)
|  |  | 0.4 | 0.00066915 |  |  | 1 | 0.00066915
|  |  | 0.48 | 0.0030595 |  |  | 1.08 | 0.0030595
|  |  | 0.56 | 0.01192 |  |  | 1.16 | 0.01192
|  |  | 0.64 | 0.039577 |  |  | 1.24 | 0.039577
|  |  | 0.72 | 0.11197 |  |  | 1.32 | 0.11197
|  |  | 0.8 | 0.26995 |  |  | 1.4 | 0.26995
|  |  | 0.88 | 0.5546 |  |  | 1.48 | 0.5546
|  |  | 0.96 | 0.97093 |  |  | 1.56 | 0.97093
|  |  | 1.04 | 1.4485 |  |  | 1.64 | 1.4485
|  |  | 1.12 | 1.8414 |  |  | 1.72 | 1.8414
|  |  | 1.2 | 1.9947 |  |  | 1.8 | 1.9947
|  |  | 1.28 | 1.8414 |  |  | 1.88 | 1.8414
|  |  | 1.36 | 1.4485 |  |  | 1.96 | 1.4485
|  |  | 1.44 | 0.97093 |  |  | 2.04 | 0.97093
|  |  | 1.52 | 0.5546 |  |  | 2.12 | 0.5546
|  |  | 1.6 | 0.26995 |  |  | 2.2 | 0.26995
|  |  | 1.68 | 0.11197 |  |  | 2.28 | 0.11197
|  |  | 1.76 | 0.039577 |  |  | 2.36 | 0.039577
|  |  | 1.84 | 0.01192 |  |  | 2.44 | 0.01192
|  |  | 1.92 | 0.0030595 |  |  | 2.52 | 0.0030595
|  |  | 2 | 0.00066915 |  |  | 2.6 | 0.00066915

## Compare 4
Comparison of multiple measurements with known uncertainties
This data comparison tool can help evaluate whether measured results agree with each other within their uncertainty limits.
Enter your measured values and uncertainties in the highlighted cells.
Delete values from highlighted cells not being used.
Uncertainty Range
| X |  | u |  | X-u | X+u
A = | 5 | ± | 2 |  | 3 | 7
B = | 13 | ± | 5 |  | 8 | 18
C = | 11 | ± | 4 |  | 7 | 15
D = | 17 | ± | 3 |  | 14 | 20
Hypothesis testing:
B = C? |  | Z(B-C) = | 0.31235 | p = | 0.75478 | Complete overlap (both midpoints within ranges): p = 0.5 to 1.0
B = D? |  | Z(B-D) = | 0.68599 | p = | 0.49272 | One midpoint within other range: p = 0.32 to 0.9
C = D? |  | Z(C-D) = | 1.2 | p = | 0.23014 | Ranges overlap but do not include midpoint: p =0.16 to 0.37
A = C? |  | Z(A-C) = | 1.3416 | p = | 0.17971 | Ranges meet but no overlap: p = 0.16 to 0.32
A = B? |  | Z(A-B) = | 1.4856 | p = | 0.13739 | Almost overlap: p = 0.1 to 0.2
A = D? |  | Z(A-D) = | 3.3282 | p = | 0.0008742 | Clearly no overlap: p < 0.2
Note: p-values are based on the following assumptions:
1) u is standard uncertainty
2) X ± u is 68% confidence interval
3) Measurements exhibit normal distribution properties
4) Sample size is very large
Gaussian (Normal) Probability Distributions with Known Means and Variances
G(x) = (1/(sigma*sqrt(2pi)))*exp(-x^2/2sigma^2)
|  |  | X1 | G(X1) |  | X2 | G(X1) | X3 | G(X1) | X4 | G(X1)
|  |  | -3 | 6.6915e-05 |  | -7 | 2.6766e-05 | -5 | 3.3458e-05 | 5 | 4.461e-05
|  |  | -2.2 | 0.00030595 |  | -5 | 0.00012238 | -3.4 | 0.00015298 | 6.2 | 0.00020397
|  |  | -1.4 | 0.001192 |  | -3 | 0.00047682 | -1.8 | 0.00059602 | 7.4 | 0.0007947
|  |  | -0.6 | 0.0039577 |  | -1 | 0.0015831 | -0.2 | 0.0019789 | 8.6 | 0.0026385
|  |  | 0.2 | 0.011197 |  | 1 | 0.0044789 | 1.4 | 0.0055986 | 9.8 | 0.0074648
|  |  | 1 | 0.026995 |  | 3 | 0.010798 | 3 | 0.013498 | 11 | 0.017997
|  |  | 1.8 | 0.05546 |  | 5 | 0.022184 | 4.6 | 0.02773 | 12.2 | 0.036974
|  |  | 2.6 | 0.097093 |  | 7 | 0.038837 | 6.2 | 0.048547 | 13.4 | 0.064729
|  |  | 3.4 | 0.14485 |  | 9 | 0.057938 | 7.8 | 0.072423 | 14.6 | 0.096564
|  |  | 4.2 | 0.18414 |  | 11 | 0.073654 | 9.4 | 0.092068 | 15.8 | 0.12276
|  |  | 5 | 0.19947 |  | 13 | 0.079788 | 11 | 0.099736 | 17 | 0.13298
|  |  | 5.8 | 0.18414 |  | 15 | 0.073654 | 12.6 | 0.092068 | 18.2 | 0.12276
|  |  | 6.6 | 0.14485 |  | 17 | 0.057938 | 14.2 | 0.072423 | 19.4 | 0.096564
|  |  | 7.4 | 0.097093 |  | 19 | 0.038837 | 15.8 | 0.048547 | 20.6 | 0.064729
|  |  | 8.2 | 0.05546 |  | 21 | 0.022184 | 17.4 | 0.02773 | 21.8 | 0.036974
|  |  | 9 | 0.026995 |  | 23 | 0.010798 | 19 | 0.013498 | 23 | 0.017997
|  |  | 9.8 | 0.011197 |  | 25 | 0.0044789 | 20.6 | 0.0055986 | 24.2 | 0.0074648
|  |  | 10.6 | 0.0039577 |  | 27 | 0.0015831 | 22.2 | 0.0019789 | 25.4 | 0.0026385
|  |  | 11.4 | 0.001192 |  | 29 | 0.00047682 | 23.8 | 0.00059602 | 26.6 | 0.0007947
|  |  | 12.2 | 0.00030595 |  | 31 | 0.00012238 | 25.4 | 0.00015298 | 27.8 | 0.00020397
|  |  | 13 | 6.6915e-05 |  | 33 | 2.6766e-05 | 27 | 3.3458e-05 | 29 | 4.461e-05

## Data Sets
Visual comparison of two sets of experimental results
This data comparison tool is useful for small data sets where the uncertainties are not well known.
Enter measured values and uncertainties in the highlighted cells.
Enter zeros in cells not used.
| Set |  | Set
| A |  | B
| 441 | 2 | 432 | 1
| 426 | 2 | 444 | 1
| 432 | 2 | 426 | 1
| 422 | 2 | 433 | 1
| 444 | 2 | 440 | 1